## Cover & Amendment Page
Lusail Real Estate Development Company
Health, Safety, Security, Environment, Logistics & Quality
Department
Lusail Construction Safety Procedural Form/Checklist – Monthly Fire Site Inspection Form
Document No |  | Document No.: LUS-HSE-FM4-446-149.00 |  |  |  | Rev | 0
Uncontrolled Copy |  |  | Controlled Copy |  |  | Date | 2016-01-18
COMPANY PROPRIETARY INFORMATION
Prior to use, ensure this document is the most recent revision by checking the Master Document List. To request a change, submit a Document Change Request to the Document Control Representative. Master copy of this document will be maintained by the LREDC QA/QC Manager. Not Controlled if printed.
Amendment Record
This document is reviewed to ensure its continuing relevance to the systems and process that it describes. A record of contextual additions or omissions is given below:
Rev. No. | Description / Comments |  | Prepared By | Checked By | Approved By | Date
X

## Inspection
LUSAIL FIRE SITE INSPECTION
Inspected by: |  |  | Inspection Date:
Company Inspected: |  |  | Contact Person:
Inspection No: |  |  | Developer No:
|  |  | Photo (√) | Total Points Possible |  | Total Points Scored | Final Score
228
A | MANAGEMENT |  |  | Section 11 Part 1.7.1.2
1 | Has the contractor carried out fire risk assessments by a competent person for work site, site offices, any other temporary buildings and off site company offices as per section 11 - part 1.7.1.2.? | Has the contractor carried out fire risk assessments by a competent person for work site, site offices, any other temporary buildings and off site company offices as per section 11 - part 1.7.1.2.? |  | 2 | 2
2 | Is fire safety included in the planning phase of the construction? | Is fire safety included in the planning phase of the construction? |  | 2 | 2
3 | Does the contractor have a fire safety plan? | Does the contractor have a fire safety plan? |  | 2 | 2
4 | Does the fire safety plan include the organisational arrangements for fire safety? | Does the fire safety plan include the organisational arrangements for fire safety? |  | 2 | 2
5 | Does the fire safety plan include the site precautions to be implemented (e.g. escape routes, means of detecting, fire fighting)? | Does the fire safety plan include the site precautions to be implemented (e.g. escape routes, means of detecting, fire fighting)? |  | 2 | 2
6 | Does the fire safety plan include the means for raising the alarm in case of fire (e.g. manual call points)? | Does the fire safety plan include the means for raising the alarm in case of fire (e.g. manual call points)? |  | 2 | 2
7 | Does the fire safety plan include the procedure for calling the Civil Defence? | Does the fire safety plan include the procedure for calling the Civil Defence? |  | 2 | 2
8 | Does the fire safety plan include the means of escape in case of fire? | Does the fire safety plan include the means of escape in case of fire? |  | 2 | 2
9 | Does the fire safety plan include a permit to work system to control hot work? | Does the fire safety plan include a permit to work system to control hot work? |  | 2 | 2
10 | Does the fire safety plan include provisions of fire hydrants where possible? | Does the fire safety plan include provisions of fire hydrants where possible? |  | 2 | 2
11 | Does the fire safety plan include the control of combustible waste materials? | Does the fire safety plan include the control of combustible waste materials? |  | 2 | 2
12 | Does the fire safety plan include the security measures to minimise the risk of arson? | Does the fire safety plan include the security measures to minimise the risk of arson? |  | 2 | 2
13 | Has the Project/Site Manager appointed an Incident Controller for the site? | Has the Project/Site Manager appointed an Incident Controller for the site? |  | 2 | 2
14 | Have sufficient number of fire wardens been appointed where necessary? | Have sufficient number of fire wardens been appointed where necessary? |  | 2 | 2
15 | Does the Project Manager arrange and carry out emergency evacuation drills as required by the SHE Management Plan at a minimum frequency of 6 months? | Does the Project Manager arrange and carry out emergency evacuation drills as required by the SHE Management Plan at a minimum frequency of 6 months? |  | 2 | 2
16 | Has the Project/Site Manager ensured that arrangements are in place to monitor the effectiveness of the Fire Prevention and Control Procedures including the maintenance of any fire fighting equipment etc. | Has the Project/Site Manager ensured that arrangements are in place to monitor the effectiveness of the Fire Prevention and Control Procedures including the maintenance of any fire fighting equipment etc. |  | 2 | 2
17 | Has the contractor appointed a competent person to be responsible for continually assessing the fire risk and updating the Fire Safety Plan? | Has the contractor appointed a competent person to be responsible for continually assessing the fire risk and updating the Fire Safety Plan? |  | 2 | 2
18 | Are emergency evacuation drills recorded? | Are emergency evacuation drills recorded? |  | 2 | 2
19 | Where the premises are shared, do the contractors coordinate to comply with health and safety regulations pertaining to fire safety? | Where the premises are shared, do the contractors coordinate to comply with health and safety regulations pertaining to fire safety? |  | 2 | 2
20 | Is access to competent Health and Safety advice available to accurately assess the risk to Health and Safety and provide adequate control measures? | Is access to competent Health and Safety advice available to accurately assess the risk to Health and Safety and provide adequate control measures? |  | 2 | 2
21 | Are end of day fire checks carried out? | Are end of day fire checks carried out? |  | 2 | 2
22 | Has the contractor provided an appropriate and compatible Personal Protective Equipment (PPE) | Has the contractor provided an appropriate and compatible Personal Protective Equipment (PPE) |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 44 | 44 | 0 | 0%
Comments:
B | TEMPORARY BUILDINGS
| Is the fire break between temporary buildings, building under construction, storage facilities etc. 10 m or more where possible? | Is the fire break between temporary buildings, building under construction, storage facilities etc. 10 m or more where possible? |  | 2 | 2
| Is the fire break between temporary buildings, building under construction, storage facilities etc. at a minimum of 6 m? | Is the fire break between temporary buildings, building under construction, storage facilities etc. at a minimum of 6 m? |  | 2 | 2
| Are temporary buildings constructed from fire resistant material that comply with BS 476 to provide 30 minute fire resistance? | Are temporary buildings constructed from fire resistant material that comply with BS 476 to provide 30 minute fire resistance? |  | 2 | 2
| Is the building fitted with an automatic fire detection system? | Is the building fitted with an automatic fire detection system? |  | 2 | 2
| If the floor of the building is raised above ground level is the space beneath enclosed with non-combustible material? | If the floor of the building is raised above ground level is the space beneath enclosed with non-combustible material? |  | 2 | 2
| Are automatic fire alarms installed where necessary? | Are automatic fire alarms installed where necessary? |  | 2 | 2
| Are separate temporary buildings used for storage of flammable liquids and gases? | Are separate temporary buildings used for storage of flammable liquids and gases? |  | 2 | 2
| Are flammable materials (furniture, decorations, etc.) kept to minimum in temporary buildings? | Are flammable materials (furniture, decorations, etc.) kept to minimum in temporary buildings? |  | 2 | 2
| Do temporary buildings in which cooking is carried out have automatic detection system? | Do temporary buildings in which cooking is carried out have automatic detection system? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 18 | 18 | 0 | 0%
Comments:
C | EMERGENCY PROCEDURES
1 | Are all staff aware of the fire alarm tone in all areas including site and site offices? | Are all staff aware of the fire alarm tone in all areas including site and site offices? |  | 2 | 2
2 | Is the alarm checked regularly to ensure it can heard in all areas of the site? | Is the alarm checked regularly to ensure it can heard in all areas of the site? |  | 2 | 2
3 | Do emergency doors open in the direction of travel? | Do emergency doors open in the direction of travel? |  | 2 | 2
4 | Have specified personnel been instructed to unlock barriers when the alarm sounds? | Have specified personnel been instructed to unlock barriers when the alarm sounds? |  | 2 | 2
5 | Have adequate means of escape been provided? | Have adequate means of escape been provided? |  | 2 | 2
6 | Have emergency lights been provided in the escape routes, exit points, and other locations where required? | Have emergency lights been provided in the escape routes, exit points, and other locations where required? |  | 2 | 2
7 | Has a person been nominated to call Civil Defence in case of fire? | Has a person been nominated to call Civil Defence in case of fire? |  | 2 | 2
8 | Has the contractor been in liaison with Civil Defence? | Has the contractor been in liaison with Civil Defence? |  | 2 | 2
9 | Are site inspections and familiarisation tours arranged with Civil Defence? | Are site inspections and familiarisation tours arranged with Civil Defence? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 18 | 18 | 0 | 0%
Comments:
D | FIRE PROTECTION ARRANGEMENTS
1 | Have automatic or manual fire alarms where installed tested weekly? | Have automatic or manual fire alarms where installed tested weekly? |  | 2 | 2
2 | Have automatic sprinkler systems been installed? | Have automatic sprinkler systems been installed? |  | 2 | 2
3 | Have hose reels been installed? | Have hose reels been installed? |  | 2 | 2
4 | Is steel work protected as soon as possible? | Is steel work protected as soon as possible? |  | 2 | 2
5 | Are fire fighting equipment inspected and recorded monthly? | Are fire fighting equipment inspected and recorded monthly? |  | 2 | 2
6 | Are fire fighting equipment tested montlhy and recorded annually by a competent person? | Are fire fighting equipment tested montlhy and recorded annually by a competent person? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 12 | 12 | 0 | 0%
Comments:
E | PORTABLE FIRE EXTINGUISHERS
1 | Are adequate numbers of Civil Defence approved extinguishers provided throughout the site? | Are adequate numbers of Civil Defence approved extinguishers provided throughout the site? |  | 2 | 2
2 | Have the correct type of fire extinguishers been identified for each location? | Have the correct type of fire extinguishers been identified for each location? |  | 2 | 2
3 | Are fire extinguishers temporary buildings mounted so that the handle is 1 m above the floor? | Are fire extinguishers temporary buildings mounted so that the handle is 1 m above the floor? |  | 2 | 2
4 | Where mounting is not possible are base or standings provided for the fire extinguishers? | Where mounting is not possible are base or standings provided for the fire extinguishers? |  | 2 | 2
| Are red boxes provided for storing fire extinguishers on site? | Are red boxes provided for storing fire extinguishers on site? |  | 2 | 2
| Do the red fire extinguisher boxes display 'FIRE POINT'? | Do the red fire extinguisher boxes display 'FIRE POINT'? |  | 2 | 2
5 | Do all fire extinguishers conform to BS EN3? | Do all fire extinguishers conform to BS EN3? |  | 2 | 2
6 | Are fire extinguishers tested by discharging at intervals specified by BS 5306? | Are fire extinguishers tested by discharging at intervals specified by BS 5306? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 16 | 16 | 0 | 0%
Comments:
F | TEMPORARY COVERS
1 | Have these been selected so that the fire load is still acceptable? | Have these been selected so that the fire load is still acceptable? |  | 2 | 2
2 | Where flexible covering materials are used do they comply with relevant standards? | Where flexible covering materials are used do they comply with relevant standards? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 4 | 4 | 0 | 0%
Comments:
G | SITE SECURITY AGAINST ARSON
1 | Is security lighting installed around the site to provide visibilty during night time? | Is security lighting installed around the site to provide visibilty during night time? |  | 2 | 2
2 | Is the site checked for hazards at the end of each work period, particularly where hot work was taking place? | Is the site checked for hazards at the end of each work period, particularly where hot work was taking place? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 4 | 4 | 0 | 0%
Comments:
H | ELECTRICAL
1 | Does the contractor have a procurement procedure to ensure that the correct type, high quality and construction grade equipment is purchased? | Does the contractor have a procurement procedure to ensure that the correct type, high quality and construction grade equipment is purchased? |  | 2 | 2
2 | Do electrical installations conform to British or International Standards? | Do electrical installations conform to British or International Standards? |  | 2 | 2
3 | Have workers been trained in the use of electrical tools? | Have workers been trained in the use of electrical tools? |  | 2 | 2
4 | Does the contractor have a maintenance regime for all electrical equipment and installations? | Does the contractor have a maintenance regime for all electrical equipment and installations? |  | 2 | 2
5 | Does the contractor ensure that all electrical equipment is inspected regularly with colour code sticker? | Does the contractor ensure that all electrical equipment is inspected regularly with colour code sticker? |  | 2 | 2
6 | Has the contractor hired a qualified electrician to conduct electrical work? | Has the contractor hired a qualified electrician to conduct electrical work? |  | 2 | 2
7 | Has the contractor provided a competent person to be in charge of all electrical installations? | Has the contractor provided a competent person to be in charge of all electrical installations? |  | 2 | 2
8 | Are all circuits, other than those controlling security devices and security lights turned off when work ceases? | Are all circuits, other than those controlling security devices and security lights turned off when work ceases? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 16 | 16 | 0 | 0%
Comments:
I | FLAMMABLE LIQUIDS AND LPG (DANGEROUS SUBSTANCES)
1 | Are storage areas of flammable liquids bunded to the capacity of the largest container + 10%. | Are storage areas of flammable liquids bunded to the capacity of the largest container + 10%. |  | 2 | 2
2 | Is area zoning system in place? | Is area zoning system in place? |  | 2 | 2
| Are all zones identified by signs? | Are all zones identified by signs? |  | 2 | 2
| Are 'FLAMMABLE LIQUID' or 'FLAMMABLE GAS' signs displayed where required? | Are 'FLAMMABLE LIQUID' or 'FLAMMABLE GAS' signs displayed where required? |  | 2 | 2
| Are areas where explosive atmospheres may exist provided with signs that conform to BS 5499? | Are areas where explosive atmospheres may exist provided with signs that conform to BS 5499? |  | 2 | 2
| Is electrical work, naked flames and other ignition sources prohibited in the vicinity of dangerous substances storage? | Is electrical work, naked flames and other ignition sources prohibited in the vicinity of dangerous substances storage? |  | 2 | 2
| Is amount of dangerous substances stored on site kept to minimum? | Is amount of dangerous substances stored on site kept to minimum? |  | 2 | 2
| Are temporary buildings and site accommodation clear of Dangerous Substance Storage? | Are temporary buildings and site accommodation clear of Dangerous Substance Storage? |  | 2 | 2
| Are all gas suppliers installed by a competent gas fitter? | Are all gas suppliers installed by a competent gas fitter? |  | 2 | 2
| Are flexible links for LPG supplies only connected by a competent person? | Are flexible links for LPG supplies only connected by a competent person? |  | 2 | 2
| Are the contents of containers and pipe lines marked? | Are the contents of containers and pipe lines marked? |  | 2 | 2
3 | Are flammable liquids such petrol stored in suitable containers? | Are flammable liquids such petrol stored in suitable containers? |  | 2 | 2
4 | Is the storage of dangerous substances in a well ventilated area? | Is the storage of dangerous substances in a well ventilated area? |  | 2 | 2
5 | Have a chemical powder and/or foam fire extinguisher(s) been provided in the vicinity of the storage area? | Have a chemical powder and/or foam fire extinguisher(s) been provided in the vicinity of the storage area? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 28 | 28 | 0 | 0%
Comments:
J | CYLINDERS
1 | Have mechanical handling equipment been provided for handling and transportation of cylinders where necessary (e.g. trolleys)? | Have mechanical handling equipment been provided for handling and transportation of cylinders where necessary (e.g. trolleys)? |  | 2 | 2
2 | Are cylinders visually inspected each time before use? | Are cylinders visually inspected each time before use? |  | 2 | 2
| Are damaged cylinders removed from service and supplier contacted? | Are damaged cylinders removed from service and supplier contacted? |  | 2 | 2
| Is the storage area located 4 m away temporary buildings? | Is the storage area located 4 m away temporary buildings? |  | 2 | 2
3 | Is 1.5 m gangway maintained in the storage area? | Is 1.5 m gangway maintained in the storage area? |  | 2 | 2
4 | Are all cylinders stored upright? | Are all cylinders stored upright? |  | 2 | 2
5 | Are employees trained in safe storage, handling and transportation, and use cylinders? | Are employees trained in safe storage, handling and transportation, and use cylinders? |  | 2 | 2
6 | Are MSDS sheets provided for all dangerous substances? | Are MSDS sheets provided for all dangerous substances? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 16 | 16 | 0 | 0%
Comments:
K | HOT WORKS
1 | Has the contractor provided a hot work procedure? | Has the contractor provided a hot work procedure? |  | 2 | 2
2 | Is hot work controlled by a Permit to Work system? | Is hot work controlled by a Permit to Work system? |  | 2 | 2
3 | Are trained fire watch provided? | Are trained fire watch provided? |  | 2 | 2
4 | Has the contractor included welding, grinding and other hot work in the Health and Safety procedure? | Has the contractor included welding, grinding and other hot work in the Health and Safety procedure? |  | 2 | 2
5 | Is a permit to work system in place? | Is a permit to work system in place? |  | 2 | 2
6 | Are tar boilers supervised by experienced operatives, and only taken onto roofs in exceptional circumstances? | Are tar boilers supervised by experienced operatives, and only taken onto roofs in exceptional circumstances? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 12 | 12 | 0 | 0%
Comments:
L | WASTE MATERIALS
1 | Are provisions made for the safe storage and removal of waste materials? | Are provisions made for the safe storage and removal of waste materials? |  | 2 | 2
2 | Are checks carried out routinely to ensure that waste materials are not accumulating on the site? | Are checks carried out routinely to ensure that waste materials are not accumulating on the site? |  | 2 | 2
3 | Is all dry vegetation removed regularly from around the site? | Is all dry vegetation removed regularly from around the site? |  | 2 | 2
4 | Is there an absolute prohibition on burning rubbish on site? | Is there an absolute prohibition on burning rubbish on site? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 8 | 8 | 0 | 0%
Comments:
M | PLANT
1 | Is all plant and equipment visually inspected before use? | Is all plant and equipment visually inspected before use? |  | 2 | 2
2 | Is Plant and equipmnet thoroughly examined annually by third party? | Is Plant and equipmnet thoroughly examined annually by third party? |  | 2 | 2
3 | Is all plant with internal combustion engines positioned in well-ventilated, non-combustible enclosure with the exhaust pipes clear of combustible materials? | Is all plant with internal combustion engines positioned in well-ventilated, non-combustible enclosure with the exhaust pipes clear of combustible materials? |  | 2 | 2
4 | Are employees trained in safe procedure for refilling vehicle and fuel storage tanks? | Are employees trained in safe procedure for refilling vehicle and fuel storage tanks? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 8 | 8 | 0 | 0%
Comments:
N | COMMUNICATION
1 | Is an employee nominated to call Civil Defence in case of fire? | Is an employee nominated to call Civil Defence in case of fire? |  | 2 | 2
2 | Are the necessary contacts arranged with external emergency services? | Are the necessary contacts arranged with external emergency services? |  | 2 | 2
3 | Are the employees aware of the reporting line in case of emergencies? | Are the employees aware of the reporting line in case of emergencies? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 6 | 6 | 0 | 0%
Comments:
O | TRAINING |  |  | QCS 11.1.5.4, 11.2.2 & 11.2.3
1 | Does the fire safety plan include staff training matrix? | Does the fire safety plan include staff training matrix? |  | 2 | 2
2 | Does the induction training cover refraining from misusing fire extinguishers ( e.g. using extinguishers as door stops, misplacing fire extinguishers etc.)? | Does the induction training cover refraining from misusing fire extinguishers ( e.g. using extinguishers as door stops, misplacing fire extinguishers etc.)? |  | 2 | 2
3 | Are all visitors safety inducted and have been informed of site rules? | Are all visitors safety inducted and have been informed of site rules? |  | 2 | 2
4 | Have training been provided to familiarise employees with fire safety procedures? | Have training been provided to familiarise employees with fire safety procedures? |  | 2 | 2
5 | Have training been provided for use of hose reels if installed? | Have training been provided for use of hose reels if installed? |  | 2 | 2
6 | Have training been provided for use of fire blankets? | Have training been provided for use of fire blankets? |  | 2 | 2
7 | Have training been provided for safe storage, handling and transportation, and use of dangerous substances? | Have training been provided for safe storage, handling and transportation, and use of dangerous substances? |  | 2 | 2
8 | Is fire safety included in induction training? | Is fire safety included in induction training? |  | 2 | 2
9 | Has the contractor provided training in the correct selection and use of portable fire extinguishers for every person employed at the worksite? | Has the contractor provided training in the correct selection and use of portable fire extinguishers for every person employed at the worksite? |  | 2 | 2
| POSSIBLE POINTS AWARDED |  |  | 18 | 18 | 0 | 0%
| FINAL SCORE |  |  |  | 228 | 0 | 0%
LUSAIL H&S Monthly Inspection Summary
H&S PROGRAM AREA |  |  |  | Total Points Possible |  | Total Points Scored | Final Score
A | MANAGEMENT |  |  | 44 | 16 | 0 | 0%
B | TEMPORARY BUILDINGS |  |  | 18 | 10 | 0 | 0%
C | EMERGENCY PROCEDURES |  |  | 18 | 36 | 0 | 0%
D | FIRE PROTECTION ARRANGEMENTS |  |  | 12 | 16 | 0 | 0%
E | PORTABLE FIRE EXTINGUISHERS |  |  | 16 | 12 | 0 | 0%
F | TEMPORARY COVERS |  |  | 4 | 12 | 0 | 0%
G | SITE SECURITY AGAINST ARSON |  |  | 4 | 12 | 0 | 0%
H | ELECTRICAL |  |  | 16 | 20 | 0 | 0%
I | FLAMMABLE LIQUIDS AND LPG (DANGEROUS SUBSTANCES) |  |  | 28 | 10 | 0 | 0%
J | CYLINDERS |  |  | 16 | 12 | 0 | 0%
K | HOT WORKS |  |  | 12 | 20 | 0 | 0%
L | WASTE MATERIALS |  |  | 8 | 32 | 0 | 0%
M | PLANT |  |  | 8 | 16 | 0 | 0%
N | COMMUNICATION |  |  | 6 | 10 | 0 | 0%
O | TRAINING |  |  | 18 | 22 | 0 | 0%
|  |  |  | 228 | 256 | 0 | 0%
| Legend: | 2 - Full Compliance
1 - Partial Compliance
0 - Non Compliance
NA - Not applicable

## Photos
LUSAIL FIRE SITE INSPECTION
Figure 1 | Figure 2 | Figure 3
Figure 4 | Figure 5 | Figure 6
Figure 7 | Figure 8 | Figure 9
Figure 10 | Figure 11 | Figure 12

## Corrective Actions
FIRE CORRECTIVE ACTIONS
Item | Description | By Whom | Do By Date | Completed Date
1
2
3
4
5
6
7
8
9
10
11
12
13
Comments / Observations
A
B
C
D
E
F
G
H
I
J
Recommendations
1
2
3
4
5
6
7
8
9
10

## Perf Metrics
Program Area | Score
MANAGEMENT | 0%
TEMPORARY BUILDINGS | 0%
EMERGENCY PROCEDURES | 0%
FIRE PROTECTION ARRANGEMENTS | 0%
PORTABLE FIRE EXTINGUISHERS | 0%
TEMPORARY COVERS | 0%
SITE SECURITY AGAINST ARSON | 0%
ELECTRICAL | 0%
FLAMMABLE LIQUIDS AND LPG (DANGEROUS SUBSTANCES) | 0%
CYLINDERS | 0%
HOT WORKS | 0%
WASTE MATERIALS | 0%
PLANT | 0%
COMMUNICATION | 0%
TRAINING | 0%
Actual Score | 0%
Target Score | 60%

## Compatibility Report (hidden)
Compatibility Report for Lusail Monthly Audit Document.xls
Run on 12/11/2014 10:29
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences | Version
Some formatting on charts in this workbook is not supported in earlier versions of Excel and will not be displayed. | 4
| Perf Metrics'!A2:M56 | Excel 97-2003
Minor loss of fidelity
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 107 | Excel 97-2003